DPS-15V2-2 Instruction

1. Leaders Electric Technology’S DPS (Digital Power Supply) Series is digital LED lighting power supply. On the panel, Rotary Switch is able to adjust the brightness.

2.Product Character：

Modle ： DPS-15V2-2

Dimmension(mm ): 181*119*42

Chanel：2

Input：100-240V  AC

Output： DC12 V 15W

Control：Manual

Cooling System：Natural Air Cooling

3.Operating Temperature：-10℃ ~ +40℃

4.Storage Temperature：-10℃ ~ +60℃

5.Quality Assurance： One Year

Leaders Electric Technology(Suzhou) Co.,Ltd

Address：155# KangZhuang Road ZhouShi Town

KunShan City JiangSu Province China

DPS-15V2-2

1.DPS (Digital Power Supply) 是一种LED控制电源，通过调节控制面板上的可调，LED的亮度产生连续的变化。

2.产品特性：

型号 ： DPS-15V2-2

尺寸(mm): 181*119*42

通道：2

输入：100-240V  交流

输出： 直流 12伏特、 15瓦特

控制端：手动控制

冷却：自然空气冷却

3.使用环境：-10℃ ~ +40℃

4.储存条件：-10℃ ~ +60℃

5.质保：一年

利德仕电子科技（苏州）有限公司

地址：江苏省昆山市康庄路155号